**SUBJECT : WEEKLY INSPECTION DIARY OF VINAYAK RAI, SE, M-34, PWD**

**07.04.2014 (Monday)**

**Place of Inspection:** Kanjhawala to Bawana.

The contractor was asked to rectify the damaged road at two locations where DJB leakage was noticed. Similarly concrete road before Bawana was dug up at 3 locations by DJB for rectification of leakage . EE was advised to get the road repaired. Dressing of Berms and refilling of extra earth on low lying locations may be carried out. The road was also inspected by CE, MZ-3, PWD and it was decided to construct drain near DSIIDC boundary wall along with provision for ground water recharge.

**08.04.2014 (Tuesday) - Holiday**

**09.04.2014 (Wednesday)**

**Place of Inspection: Narela & Singhu Border**

**Observations and Directions issued:** The road from Ramdev Chowk to Singhu Border was inspected with CE, MZ-3, PWD and EE, M-342 explained the layout of road to CE**.** The hindrances' were found still existing on Ramdev chowk to Singhu Border such as electrical poles for which EE, M-342 informed that NDPL inspection is scheduled shortly. EE, M-342, PWD informed that they have got permission for demolishing forest boundary wall and one other structure coming in the alignment of road as the land has been taken over by DDA. At Ramdev Chowk, the precast RCC covers are not placed properly at round-about. At Safiabad Road, water from Narela is flowing towards safiabad road & Ramdev chowk. EE, M-342 was asked to examine the possibility of joining two drains so that in case of overflow towards Safiabad Road drain, excess water may flow towards Ramdev Chowk. EE was told to start de-silting work also.

**10.04.2014 (Thursday) - Holiday**

**11.04.2014 (Friday)**

**C/o Police Post at Maurya Enclave, Pitampura**

**Observations and Directions issued:** The Progress of work was reviewed and it was agreed by the contractor to complete the work within a week including clearing of site. EE, M-342 was advised to pursue the case for water & sewer connection with DJB.