|  |
| --- |
| **PUBLIC WORKS DEPARTMENT** **GOVT. OF DELHI****OFFICE OF THE EXECUTIVE ENGINEER****CIVIL BUILDING MAINTENANCE DIVISION M-422****P.T.S. MALVIYA NAGAR, NEW DELHI-110017 PH: 26564310, FAX: 26858913****Email : eepwddelhim422@gmail.com**  |

|  |
| --- |
|  |

File No:- DB(23)/CBMD/M-422 (NCT)/E-I/ Dated:- 5.4.14

To,

 **Shri N R Meena**

 Assistant Engineer

 PWD, Sub Division M-4222,

 CBMD M- 422

 P.T.S. Malviya Nagar

 New Delhi.

**Name of work:- C/o 40 Nos (D/S) SPS Class rooms with toilet and staircase at Malviya Nagar New Delhi.**

**Agency:- KBG**

The above works inspected and following observed.

1. Quality of sand is not up to the mark.

2. No hacking has been done by the contractor on lintel beam which were open recently.

3 The corners and surface of Red Sand stone is no up to the mark even some stones are less than 40 mm thickness.

4. The bricks at site are not up to the mark and to be removed from site.

5. The testing equipments are not as per agreement; site order book, test register etc are not reviewed.

6 The shuttering used by the contractor is not up to the mark.

7. Curing appear insufficient the cycle of curing may be increased.

8. Programme chart may be placed at in site office

9. No hopper mixture available at site

 Therefore you are requested to attend the same and completion report may be forwarded to undersigned as early as possible.

 **(Er. Pratap Singh)**

 Executive Engineer

 CBMD M-422 (NCT)

 P.T.S. Malviya Nagar

 New Delhi.

**Copy to:-**

**1 Superintending Engineer**, M-42 PWD NCT, Sukhdev Vihar New Delhi for information.

Executive Engineer