**SUBJECT : WEEKLY INSPECTION DIARY OF VINAYAK RAI, SE, M-34, PWD**

**12.05.2014 (Monday) - Went to NSG**

**13.05.2014 (Tuesday)**

**Place of Inspection: Katevera More**

**Observations and Directions issued:** Meeting was held withDr. Pradeep Vats and other local representatives of Katevera. EE, M-341, PWD was asked to take action on the points raised by them as per guidelines and policy. EE, M-341 was also asked to reply to the letters written by them.

**14.05.2014 (Wednesday) - Holiday**

**15.05.2014 (Thursday)**

**Attended IRF conference on "Role of Corporates in Road Safety " at IIC.**

**16.05.2014 (Friday)**

**Place of Inspection: Drain Work at Pooth Kurd & Prahladpur**

**Observations and Directions issued:** The drain work at Prahladpur & Pooth Kurd was visited. AE was told to ensure that drain is completely de-silted before laying top slab. AE was also told to ensure soaking of bricks in water and proper curing. The quality of mortar appears poor and joints of brick-work were not filled properly. EE and AE must ensure proper quality of mortar, soaking of bricks in water, joints are filled and proper curing is done. The de-silted material should also be removed immediately and proper barricading must be done for smooth flow of traffic.