**SUBJECT : WEEKLY INSPECTION DIARY OF VINAYAK RAI, SE, M-34, PWD**

**09.06.2014 (Monday) -** Joint Inspection of MCD & PWD Officers of Sanjay Gandhi Transport Nagar & Libaspur Area was done. Libaspur Area falls under M-31 and concerned EE noted the points. MCD was requested to construct the roads and de-silt the drains of Sanjay Gandhi Transport Nagar. EE, M-342, PWD also advised to ensure complete de-silting of drain and removal of floating material. EE, M-342, PWD also advised to expedite the work of raising of drain and ensure removal of malba and silt on priority.

**10.06.2014 (Tuesday) - Attended meeting of the APEX Committee to review the flood control measures in NCT of Delhi.**

**11.06.2014 (Wednesday)**

**Place of Inspection: Mangolpuri -Kanjhawala Road**

**Observations and Directions issued:** De-silting of Drains at Avantika, Brahm-Shakti Hospital was inspected. At some points, it was observed that silt/ earth was dumped to stop flow of sewer water for ease of construction of drain. Now the drain has been constructed, but these points have not been cleared. EE, M-341, PWD was advised to clean the silt/earth dumped at such places.

**12.06.2014 (Thursday)**

**Place of Inspection: De-silting of Drain & Raising of Drain at Sanjay Gandhi Transport Nagar**

**Observations and Directions issued:** De-silting of Drains at Sanjay Gandhi Transport Nagar was inspected and EE, M-342, PWD was advised to increase labour for de-silting. If the contractor doesn't deploy adequate manpower, EE was advised to carry out the work at the risk and cost of contractor. Similarly, civil contractor was asked to expedite the work of raising of drains. EE also advised to remove malba/silt generated on daily basis.

**13.06.2014 (Friday) - Attended office for E-in-C, PWD meeting on review of budget/expenditure**

.