पत्र सं0 23( 316 ) @सि मा अनु परिमं एम**&**31@869 दिनांक 17-03-15

**Inspection Note**

The undersigned had a site inspection of Mahatma Hansraj Marg with EE /AE /JE M-312 on 13.03.2015 at 10.30 AM. This road has been selected for development a model road which is dust free, congestion free and pollution free. The following decisions were taken for necessary compliance at the earliest. The road will again be inspected for compliance of these points in a week’s time.

1 Road marking stones / inauguration stones near M2K and ORR were found unclean. These should be cleaned and the tile work be painted.

2 OFC cables of some cellular company and street light cables are open on the berm near the vacant plot of Ramgarhia Satsang Sabha adjacent to the road. These cables be laid underground in proper manner with the help of concerned agencies.

3 A brick masonary toe wall of a height 60-75cm above the road level be constructed and finished with grit wash to demarcate ROW boundary near Gurdwara opposite Govt. S. S. School.

4 At several places the CC berm is damaged and needs to be repaired.

5 Pipe of a feeder pump of MCD / DJB near the road is having its outlet to fill the water into the tanks on the berm of the road. It causing damage to the berm /road besides in convenience to the public, therefore the matter may be taken up with MCD / DJB to shift the location of the pump or to stop it.

6 At several places the building material suppliers have stacked the material like: bricks, aggregate and sand. All such material be got removed and in future, no stacking of any material on the road shall be allowed to happen for which JE / AE shall be responsible.

7 At a place near Jheel Park, some jhuggis were put on the footpath. These should be removed and such recurrences be not allowed in future.

8 At some places de concretization of the trees have not been done properly. The same should be properly done having a peripherial size of 6ftx6ft excluding girth of the tree. The katcha portion should also be neatly developed.

9 The boundary facing the road near MCD park, be grit washed.

***……P/2….***

**--- 2 ---**

10 Trimming of the trees needs to be done by the PWD Horticulture for which a letter is to be sent by the EE, M-312 to DD, Hort.

11 Drain covers were missing or improper position. The same should be provided / put in proper position.

12 Few bell mouths were blocked and need to be cleaned.

13 Cleaning of the drains need to be checked. Desilting may be done only if it is needed and may not be unnecessarily resorted to.

14 At few places drains were broken and need to be repaired.

15 Kerb channels need to be cleaned.

16 At one place a piece of MS pipe was coming out from the surface of the berm. The same needs to be cut and leveled.

17 Road marking is faded and needs to be redone.

18 Due to Holi burning on the bituminous road at Bihari Chowk, a portion of road has been badly damaged. The same needs to be repaired.

19 Malba found at some places. This was dumped by the residents while carrying out construction work in their houses. The same needs to be removed. In this connection a notice to such residents be served that if the malba is dumped by them on road necessary legal action shall be taken under Defacement of Public Property Act, besides recovery of the expenses incurred by the department for removal of the malba.

20 Some buses are parked on the road along the footpath for long time. The matter may be taken up with the Traffic Police with copy to Transport Deptt. for taking necessary action for such unauthorized parking on the road. Similarly, cars have also been parked on the road, matter may also be taken up with Traffic Police & Transport Department.

21 There were lots of rickshaws dumped on the road, the same should be removed.

22 There were thellas were on the road. The same should be removed.

23 There was an unauthorized coal shop was running from footpath. The same should be removed.

24 There was an unauthorized Chinese food van operating on the road, the same should be removed.

25 There were some temporary shops on the road which were told to have been allotted by the MCD under tehbazari. There allotment may be got verified from the MCD.

26 At two places the level of the DJB sewer line man hole covers was higher than the level of the road. The necessary corrective action needs to be taken.

27 Island near ORR is damaged and needs to be repaired.

28 The edge portion of the road near house no. C-586 and ORR needs to be repaired.

***….P/3…***

**--- 3 ---**

29 The sign board of road name- Mahatma Hansraj Marg is fixed in front of the road marking stone/ wall near ORR. The same should be removed and refixed at appropriate location.

30 In C-block Saraswati Vihar, some owners of the house have encroached on the ROW of the road by constructing gates etc. Notice to such allottees be served to remove the unauthorized construction done by the them on the ROW of the road.

31 There is a missing link of the drain near Jheel Park thus blocking the drainage of rain water. Remedial action for linking this drain should be taken, so that there is no dead end of drain.

**अधीक्षण अभियंता**

**सि मा अनु परि एम 31**

**पंजाबी बाग नई दिल्ली**

प्रतिलिपि –

**1 मुख्य अभियंता, लो नि वि अं0 एम-4, एम एस ओ बिल्डिंग, नई दिल्ली को उनके संदर्भलिखित पत्र के संदर्भ में ।**

**2 अधीक्षण अभियंता(वै), लो नि वि (वै) परि एम-35, एम एस ओ बिल्डिंग, नई दिल्ली को स्ट्रीट लाइट इत्यादि से संबंधित मुद्दों पर ध्यानकर्षण हेतु ।**

**3 कार्यपालक अभियंता (वै), लो नि वि (वै) मं एम-353, बस अड्डा पुल के नीचे, दिल्ली को स्ट्रीट लाइट इत्यादि से संबंधित मुद्दों पर ध्यानकर्षण हेतु ।**

**4 उपनिदेशक (बागबानी), लो नि वि, मं एम 31**4 **को बागबानी से संबंधित मुद्दों पर ध्यानकर्षण हेतु ।**

**5** **कार्यपालक अभियंता, सि मार्ग अनु मं एम 31**2**, सैनिक विहार, दिल्ली । उपरोक्त बिन्दुओ पर त्वरित कार्रवाई एवं एक सप्ताह में कार्रवाई रिपोर्ट भेजने हेतु ।**

**6** गार्ड फ़ाइल

**अधीक्षण अभियंता**