## Proforma Water logging
Water Logging report as on 01.08.2016
SI. No | Water logging reported point | Reason of water logging | Action taken to remove water logging | Duration (Hrs/Min) | Remarks
EAST ZONE
C&ND CIRCLE
1 | --NIL--
EAST CIRCLE
1 | --NIL--
NORTH EAST
1 | --NIL--
SHAHDARA CIRCLE
1 | --NIL--
PROJECT CIRCLE
1 | --NIL--
SOUTH ZONE
South Circle
Division South Road - I
1 | Vayusenabad Airforce Station. | Large qty of water come from Sangam Vihar Colony on MB Road from Mangal Bazar also. Due to design of MCD drains problems. PWD road is perfect design. | Water logging removed using pump and maintenace van. | 1:30 hrs. | Water logging removed using pump and maintenace van.
Division South Road - II
1 | PTS to Adhchini | DJB sewer overflow accompanied by heavy rainfall | Water logging removed using pumping. | 1 hour | Water logging removed using pumping.
2 | AIIMS, Ansari Nagar Side Service Road. | Drainage disturbed by DMRC while constructing Tunnel. Proposed for improvement. | Water logging removed using Maint. Van. | 1 hour | Water logging removed using maintenance Van.
3 | Near JRD Hotel | Low laying area. Drainage is being improved. | Water logging removed using Maint. Van. | 30 minutes | Water logging removed using pump and maintenace van.
South East Circle
1 | --NIL--
South West Circle
Division South West Road - I
1 | Dev Parkash Shastri Marg near Red Light | Due to Heavy Rain and Vet | - | 30 Hours
2 | Giridhari Lal Goswami Marg near Post Office | Due to Heavy Rain and drain Blocked | - | 30 Mins
3 | Africa Avenue Mehender Showroom | Due to Heavy Rain and drain Blocked | - | 20 mins
4 | RK Puram Sector-1 Crossing | Due to Heavy Rain | - | 30 mins
5 | Vivekanand Marg Sector-5 near Outer Ring Road | Due to Heavy Rain | - | 30 mins.
6 | Vande Matram Marg Ram Nath Vij Marg T Point | Due to Heavy Rain | - | 30 mins.
7 | Vande Matram Marg Simon Boliver Marg T Point | Due to Heavy Rain | - | 30 mins
8 | Vande Matram Marg Pillar No. 68 | Due to Heavy Rain | - | 15 mins.
9 | Munirka | Due to Heavy Rain | - | 30 mins
10 | Mayapuri | DMRC work | - | 1 Hours
11 | Outer Ring Road Munirka(at DMRC Site) | Due to DMRC work | - | 60 mins
12 | MM Road Mahipalpur Village | Due to heavy rain | - | 60 mins
13 | MM Road DDA Bypass Crossing | Due to heavy rain | - | 45 Mins
Division South West Road - II
1 | --NIL--
NORTH ZONE
NORTH WEST CIRCLE
1 | --NIL--
WEST CIRCLE
1 | --NIL--
NORTH CIRCLE
1 | --NIL--