## Proforma Water logging
Water Logging report as on 29.07.2016
SI. No | Water logging reported point | Reason of water logging | Action taken to remove water logging | Duration (Hrs/Min) | Remarks
EAST ZONE
C&ND CIRCLE
1 | Khalsa College Road GTB Nagar | Due to heavy rain and small drain | Water cleared after rain stopped | 30 min.
2 | BBM Road Opp. Batra Comp. | Improper Pumping by MCD | Water cleared after rain stopped | 30 min.
3 | Parmanand Chowk | Due to Bell Chockage | Bell mouth cleaned | 30 min.
4 | Avtar Singh Marg Opp. Nirankari Bhawan | Due to improper drainage system | Water cleared after rain stopped | 1 Hr.
5 | ITO Toe flyover near IP subway | Overflow of DJB sewer Line | Pumps Installed | 20 min.
6 | Opp. WHO Building | Low lying area | Pumps Installed | 20 min.
7 | Amrit Vihar Burari | Low Lying area | Continuously pumping is being done | 1 Hr.
EAST CIRCLE
1 | --NIL--
NORTH EAST
1 | Road No. 59 Khajuri Khas to Brijpuri at Bhajanpura. | Due to heavy rain location having Low-Lying Area | 2 Nos pumps are running for dewatering | 2-3 Hours
2 | Road No. 63 near T.R. Sawhney maruti showroom | Due to heavy rain location having Low-Lying Area | 2 Nos pumps are running for dewatering | 2-3 Hours
3 | Old GT Road near Bihari Building | Due to heavy rain location having Low-Lying Area | 1No. pump is running for dewatering | Approx 1 Hour
SHAHDARA CIRCLE
1 | --NIL--
PROJECT CIRCLE
SRD Project Division-I
1 | Boulevard Road-Lothian Road T point and Boulevard Road Bus Stand. | Minor water logging | Natural flow | 15 minutes | Due to lesser capacity drainage
2 | I P College T Point | Approx. 4 inch-5 inch | Pumping | 20 minutes | Due to intensive rain drainage running full
3 | Near Monkey Bridge-Ring Road | Minor water logging | Pumping | 10 minutes | Insufficient capacity of drainage during intensive heavy rain.
4 | ISBT Kashmere Gate and near Tis Hazari Courts. | About 5 to 10 inches | - | - | Insufficient capacity of drainage during intensive heavy rain.
5 | Lothian Bridge | About 1' - 2' water logging during peak intensive rain | 3 nos. pumps running | 45 minutes | Due to intensive rain water from SPM Marg, Netaji Subhash Marg, Kela Ghat road accumlate here & DJB's Main line is unable to take catchment of entire area. The outfall to be redesigned urgently by DJB.
SRD Project Division-II
1 | Teliwara Sadar | Big catchment less capacity of drain | - | Yet not known | Maintenance van. No place for pump
2 | Jakhira Zero point | Big catchment less capacity of drain | - | Yet not known | Two pumps
SOUTH ZONE
South Circle
Division South Road - I
1 | --NIL--
Division South Road - II
1 | Sirifort Road | Due to heavy discharge from DDA sports complex. | Sirifort road near cut for Sadiq Nagar. | 30 hrs. | Due to heavy discharge from DDA sports complex. | Water logging removed using pump and maintenace van.
South East Circle
1 | Modi Mill flyover U-Turn | Due to Metro work in progress | By Pumping | 1 hrs. | Due to heavy rainfall | Reasoning for Traffic slow/Traffic Jam i.e. not due to water logging 1. Due to Two wheelers & other vehicles taken One lane to Two lane near bus stop/FOB or shelters areas hence traffic slow. 2. Due to sometimes vehicles become stuck of individual to the reason best know to then for lesser maintenance etc. hence traffic slow. 3. Red light not functioning. 4. General awareness when rains are there and even minor water logging the traffic becomes slow. 5. Wrong driving on intersection/ crossing of roads 6. If the diversion of traffic in sudden due to Minto Bridge /Pul Prahalad pur/Sarita Vihar type underpass water logging etc. reason.
2 | Sarai Julena Chowk | Heavy rain | By Pumping | Half Hrs. | Due to heavy rainfall
3 | Lajpat Nagar Metrao Station | Due to drainage system disturbed by Metro | By Pumping | 1 hrs. | Due to heavy rainfall
4 | Defence Colony Flyover | Due to drainage system disturbed by Metro | By Pumping | 1 hrs. | Due to heavy rainfall
5 | Captain Gaur Marg | Heavy rain | By Pumping | Half Hrs. | Due to four DJB sewer main hole over flowing
6 | Mathura near MTNL office | Heavy rain | By Pumping | Half Hrs. | Due to heavy rainfall
7 | Gurudwara Road | Heavy rain | By Pumping | Half Hrs. | Due to heavy rainfall
8 | Andrews Ganj Road No.7 | Heavy rain | By Pumping | Half Hrs. | Due to heavy rainfall
9 | Raja Dheersen Marg | Heavy rain | By Pumping | Half Hrs. | Due to heavy rainfall
10 | SA Road | Due to overflow of pond inside DDA park, which is required to be improved | Heavy rainfall | 2 hrs.
11 | Mathura Road - Bus Stop & Apollo Hospital | Due to heavy rainfall | Already curve channel & bellmouth are effective due to timely clearance | 1 Hrs. | Due to heavy rainfall by Pumping
12 | RUB Pul Pahladpur | Minor water logging as DJB sewers over flow started late. | All 5 pumps are regularly functioning up to the full capacity | 1 hrs. | Due to four DJB sewer main hole over flowing & down position of underpass & Indira Camp Jhuggis the traffic effected.
13 | Road No. 13A Jasola Red light | Traffic was moving slowly | By Pumping | 1 hrs. | Due to heavy rainfall
South West Circle
Division South West Road - I
1 | Dev Parkash Shastri Marg | Due to heavy rain and vet | Near Red Light | 1 Hours | Due to heavy rain and vet
2 | Giridhari Lal Goswami Marg | Due to heavy rain and drain blocked | Near Post Office | 45 Mins | Due to heavy rain and drain blocked
3 | Africa Avenue | Due to heavy rain and drain blocked | Mehender Showroom | 30 mins | Due to heavy rain and drain blocked
4 | RK Puram | Due to heavy rain | Sector-1 Crossing | 20 mins | Due to heavy rain
5 | Vivekanand Marg | Due to heavy rain | Sector-5 near Outer Ring Road | 30 mins. | Due to heavy rain
6 | Vande Matram Marg | Due to heavy rain | Ram Nath Vij Marg T Point | 30 mins. | Due to heavy rain
7 | Vande Matram Marg | Due to heavy rain | Simon Boliver Marg T Point | 30 mins. | Due to heavy rain
8 | Vande Matram Marg | Due to heavy rain | Pillar No. 68 | 15 mins. | Due to heavy rain
9 | Munirka | Due to heavy rain | Munirka | 30 mins. | Due to heavy rain
10 | Mayapuri | DMRC work | Mayapuri Crossing | 1 Hours | DMRC work
Division South West Road - II
1 | --NIL--
NORTH ZONE
NORTH WEST CIRCLE
1 | --NIL--
WEST CIRCLE
1 | Swarn Park (Delhi Rohtak Road NH-10) West Road-2 | The storm water drain of PWD at Rajdhani Park metro station on NH-10 has to carry sewage of nearby area and due to excessive inflow during rains, sometimes water logging is observed in this area. There is a leakage of DJB line in this portion also causing extra inflow in the drain. Pumps has been installed to drain out excessive water. The portion of drain needs to be augmented and necessary action in the matter has been initiated to design the drain as per need. | Removed by deploying Pump | 1.30 Hrs. | The storm water drain of PWD at Rajdhani Park metro station on NH-10 has to carry sewage of nearby area and due to excessive inflow during rains, sometimes water logging is observed in this area. There is a leakage of DJB line in this portion also causing extra inflow in the drain. Pumps has been installed to drain out excessive water. The portion of drain needs to be augmented and necessary action in the matter has been initiated to design the drain as per need.
NORTH CIRCLE
1 | --NIL--