## Proforma Water logging
Water Logging report as on 26.07.2016
SI. No | Water logging reported point | Reason of water logging | Action taken to remove water logging | Duration (Hrs/Min) | Remarks
EAST ZONE
C&ND CIRCLE
1 | Avtar Singh Marg | Due to improper drainage system | Pumps was installed water removed | 15 Min.
2 | Out gate of PHQ at IP Marg slip road | Blockage of bell mouth by polythene etc. | Bell mouth cleaned | 20 min.
3 | Ring Road Byepass U-Turn | Due to improper drainage system & Blockage of Bell Mouth | Bell mouth cleaned | 1 Hr.
EAST CIRCLE
1 | Vikas Marg below Preet Vihar Metro Station | Slight Water Logging due to road cut by Power Grid for cable laying | Water removed by pumping | 15 Minutes
NORTH EAST
1 | --NIL--
SHAHDARA CIRCLE
1 | Zonal Office Road | Low lying area and due to heavy rains | By the use of Permanent pumps. Pumps are to be operated by MCD. | About 1 hrs
2 | Surajmal Market Road | Drain not restored by DMRC near Karkardooma Court | By the use of Permanent pumps. | About 1 hrs
3 | Jhilmil Underpass near Mansarover Metro Station | Low lying area and due to heavy rains | By the use of Permanent pumps. | About 1 hrs
PROJECT CIRCLE
1 | --NIL--
SOUTH ZONE
South Circle
1 | --NIL--
South East Circle
1 | Modi Mill flyover U-Turn | Due to Metro work in progress | By Pumping | Half Hrs. | Due to heavy rainfall
2 | Sarai Julena Chowk | heavy rain | By Pumping | Half Hrs. | Due to heavy rainfall
3 | Lajpat Nagar Defence Colony Flyover Portion | Due to drainage system disturbed by Metro | By Pumping | Half Hrs. | Due to heavy rainfall
4 | Captain Gaur Marg | heavy rain | By Pumping | Half Hrs. | Due to heavy rainfall
5 | SA Road | Due to overflow of pond inside DDA park, which is required to be improved | Heavy rainfall | 2 hrs.
6 | Outer Ring road Pumpos Encalve | Heavy Rainfall as well as capacity of disposal point | improvement in progress, central verge broken at 2 places to clear the water logging | 2 hrs. | Due to DMRC work, drainage is effected
7 | Outer Ring road Savitri Cenema | Heavy Rainfall as well as capacity of disposal point |  | 20 Minutes
8 | Outer Ring road C.R. Park | Heavy Rainfall as well as capacity of disposal point | improvement in progress, central verge broken at 2 places to clear the water logging | Half Hrs. | Due to DMRC work, drainage is effected
9 | Mathura Road - Bus Stop & Apollo Hospital | Due to heavy rainfall | Already curve channel & bellmouth are effective due to timely clearance | 1 Hrs. | due to heavy rainfall by Pumping
10 | REB Pul Pahladpur | Over flow of DJB sever line | All 5 pumps are regularly functioning up to the full capacity | 3 hrs.
South West Circle
1 | --NIL--
NORTH ZONE
NORTH WEST CIRCLE
1 | --NIL--
WEST CIRCLE
1 | Mundka | The outfall drain of I&FC Kirari Suleman is running high and therefore PWD drain is taking time to drain off its water into outfall drain. | Removed by deploying Pump | 2 Hrs. | Pumps are in operation
2 | Nangloi Metro Station | The outfall drain of I&FC Kirari Suleman is running high and therefore PWD drain is taking time to drain off its water into outfall drain. | Removed by deploying manual cleaning | 30 min. | Water logging removed
NORTH CIRCLE
1 | --NIL--