|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ,**Details of Drainage Pumps in Subways and Under Pass under**  **Chief Engineer, South Zone (M-1) PWD** | | | | | | | | | |
| **Shri Manoj Kumar Mahobia, CE (South) M, 7th floor, MSO Building, I.P. Estate,**  **New Delhi-110002** | | | | | | | | | |
| **PWD Circle South East (M-42), Shri S.K.Jain, SE**  **Office Address : PWD, Sukhdev Vihar, Mathura Road, New Delhi,** | | | | | | | | | |
| **PWD Division South East (E) (M-452), Office Address : PWD EMD- South East (M-452), Tyagraj Stadium, New Delhi Office Phone No. 24645528** | | | | | | | | | |
| **Er. Manoj Gupta, EE (E) Mobile No. (9811590882)** | | | **Er. Anil Kumar, AE (E) Mobile No. 9818708705** | | | | **Er. Vipin Kumar, JE (E) Mobile No. 9650476214**  **Er. Sudhir Kishore, JE(E)**  **Mobile No. 9717759751** | | |
| **SN** | **Location** | | **Maintained By**  **Agency with Mob. No.** | | | **Capacity of Pumps** | **Quantity of Pumps** | | **Status of Pumps (working or not)** |
| **PUMPS INSTALLED IN UNDERPASS** | | | | | | | | | |
| 1 | Moolchand Underpass | | M/s Ramesh Electrical  +91**-** 9818203061 | | 2 Nos 20 HP Each, 6 Nos 15 HP, 1 No. 10 HP | | 9 Nos. | | Working |
| 2 | South Extension Under Pass | | 1 No. 5 HP Each, 1 No. 1 HP | | 2 Nos. | | Working |
| **STORM WATER PUMP SET** | | | | | | | | | |
| 1 | Bhairo Road Pump House | | M/s A.K. Electricals +91-8826139051 | | 1 Nos 20 HP, 2 Nos 50 HP,2 Nos 75 HP,1 Nos 52 HP,  1 Nos 104 HP | | 7 Nos | | Working |
| 2 | Badarpur Pump House | | 3 Nos 75 HP,4 nos 25 Hp,  1 No. 125 HP | | 8 Nos | | Tender to be opened 19.05.2017 for replacement of all the pumps |
| 3 | KushakNala Pump House | | 2 Nos 20 HP, 1 No. 7.5 HP | | 3 Nos | | Working |
| 4 | Sarai kale Khan Pump House | | 1 No. 50 HP,  4 Nos 40 HP,  1 No. 35 HP | | 6 Nos | | Working |
| **PUMPS INSTALLED IN SUBWAYS** | | | | | | | | | |
| 1 | Sriniwas Puri i/c Captain Gaur Marg | | M/s Ramesh Electrical  +91**-** 9818203061 | | 1 No. 1 HP | | 1 No. | | Working |
| 2 | Lajpat Nagar (Ring Road) | | 1 No. 1 HP | | 1 No. | | Working |
| 3 | Gupta Market (Ring Road) | | 1 No. 1 HP | | 1 No. | | Working |
| 4 | Andrews Ganj subway | | M/s Ramesh Electrical  +91**-** 9818203061 | | 1 No. 1 HP | | 1 No. | | Working |
| 5 | Lala Lajpat Rai Marg (BRT) | | 1 Nos 1 HP | | 1 No. | | Working |
| 6 | AIIMS Subway | | 1 No. 1 HP | | 1 No. | | Working |
| 7 | Nehru Place | | 1 No. 1 HP | | 1 No. | | Working |
| 8 | Masjid Moth | |  | | 1 No. 1 HP | | 1 No. | | Working |
| 9 | J. B.Tito Marg | | 1 No. 1 HP | | 1 No. | | Working |
| 10 | Pragati Maidan Gate No-2 | | 1 No. 1 HP | | 1 No. | | Working |
| 11 | CGO Complex (BRT) | | No Pump | | Nil | | No Pit at Subway |
|  | | | | | | | | | |
| **PWD Circle South (M-44), Shri Mukesh Meena, SE**  **Office Address : PWD, GNCTD, Sukhdev Vihar, New Delhi-1100025** | | | | | | | | | |
| **PWD Division South (E) (M-453) Office Address : PWD EMD M-453,11th Floor, MSO Bldg.,**  **New Delhi Office Phone No. 01123490278** | | | | | | | | | |
| **Er. Ranbir Singh, EE (E)  Mobile No. 9810433326** | | | | **Er. Mandal Lankesh Ganesh Prasad, AE(E)**  **Mobile No. 9968474205** | | | | **Er. Sanjay Patel, JE (E) Mobile No. 9555626811**  **Er. Rakesh Kumar, JE (E) Mob. No. 9990921984** | |
| **PUMPS INSTALLED IN UNDERPASS** | | | | | | | | | |
|  | | **……** | | **……** | **……** | | | **……** | **……** |
| **STORM WATER PUMP SET** | | | | | | | | | |
|  | | Band road pump house no-1 | | M/s Shaka Electricals(I)  **M** - 9212249970 | 25/40 HP | | | 3 Nos | Working |
|  | | Band road pump house no-2 | | 25/40 HP | | | 3 Nos |
|  | | Band road pump house no-3 | | 25/40 HP | | | 3 Nos |
|  | | SSN Marg pump house no-1A & 1 B | | 25/40 HP | | | 5 Nos |
|  | | SSN Marg pump house no-2 | | 25/40 HP | | | 3 Nos |
|  | | SSN Marg pump house no-3 | | 25/40 HP | | | 2 Nos |
|  | | Soami Nagar | | M/S Krishna Electrical  9873728682  9136075994 | 1 HP | | | 2 Nos | Working |
|  | | Hauz Khas Subway (Outer Ring Road) | | 1 HP | | | 4 Nos | Working |
|  | | | | | | | | | |
| **PWD Circle South West (M-12), Shri R.K. Solanki, SE**  **Office Address : N.C.C. Building, Safdarjung Enclave, New Delhi-29** | | | | | | | | | |
| **PWD Division South West (E) (M-152) Office Address J.B.Tito Marg, Andrews**  **Ganj, New Delhi - 110049**  **Office Phone No. 26253529** | | | | | | | | | |
| **Er. S.K.Dhamija, EE (E) Mobile No. (9871382212)** | | | | **Er. B.N. Ram AE (E) III/R.K.Puram Mobile No. 9999352113**  **Er. A.K.Tyagi, AE (E) II/Najafgarh Mobile No. 9911885560** | | | | **Er. Sandeep Pal JE (E) Mobile No. 9555650608**  **Er. Ritturaj, JE (E)**  **Mob. No. 9760929587** | |
| **PUMPS INSTALLED IN UNDERPASS** | | | | | | | | | |
| 1 | | Dhaula Kuan Flyover | | M/s Shaka Electrical (I)  **M –** 9212249970 | 20 HP | | | 5 Nos. | Working |
| 25 HP | | | 2 Nos. | Working |
| 36 HP | | | 2 Nos. | Working |
| 7.5 HP | | | 2 Nos. | Working |
| **STORM WATER PUMP SET** | | | | | | | | | |
| 1 | | Dhansa Stand Pump house | | M/s Shaka Electrical (I)  **M –** 9212249970 | 100 HP | | | 1 No. | Working |
| 75 HP | | | 1 No. | Working |
| 52 BHP DG Pump | | | 1 No. | Working |
| 20 HP | | | 2 No. | Working |
| 2 | | Nangloi Stand Pump House | | M/s Shaka Electrical (I)  **M –** 9212249970 | 100 HP | | | 1 No. | Working |
| 52 BHP | | | 1 No. | Working |
| 40 HP | | | 1 No. | Working |
| 75 HP | | | 1 No. | Working |
| 20 HP | | | 1 No. | Working |
| 16 KW | | | 2 Nos. | Working |
| 9.5 KW | | | 2 Nos. | Working |
| 5.5 KW | | | 1 No. | Working |
| **PUMPS INSTALLED IN SUBWAYS** | | | | | | | | | |
| 1. | | Bhikaji Cama Place At Africa Avenue Road | | M/s Shaka Electrical (I)  **M –** 9212249970 | 2 HP | | | 2 | Working |
| 2 | | Hyatt Hotel at Ring Road | | 2 HP | | | 2 | Working |
| 3. | | Munirka Flyover at Outer Ring Road | | 2 HP | | | 3 | Working |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Details of Drainage Pumps in Subways and Under Pass under Chief Engineer,**  **East Zone (M-2) PWD** | | | | | | |
| **Shri Umesh Chandra Mishra, CE (East) M, 3rd floor, MSO Building, I.P. Estate, New Delhi-110002** | | | | | | |
| **PWD Circle East (M-22), Shri Vijay Kumar, SE**  **Office Address : PWD, Delhi Secretariat, I.P. Estate, New Delhi-110002** | | | | | | |
| **PWD Division East (E) (M-253) Office Address : PWD, 2nd Level, C-Wing, Delhi Secretariat, I.P. Estate, New Delhi-110002**  **Office Phone No. 23392199** | | | | | | |
| **Er. A.R. Chandekar, EE (E) Mobile No. (8800862231)** | | | **Er. O.N. Mishra, AE (E) Mobile No. 8588860846** | | **Er. Balram Meena, JE (E) Mobile No. 9718020307**  **Er. Manan Mehta, JE (E) Mob. No. 9717925201** | |
|  | | | | | | |
| **S.**  **No.** | | **Location** | **Maintained by Agency with Mob. No.** | **Capacity of Pumps** | **Qty. of Pumps** | **Status of Pumps (working or not)** |
| **PUMPS INSTALLED IN UNDERPASS/ Subways** | | | | | | |
| 1 | Laxmi Nagar | | M/S SHAKA Electrical (Mb. No: 9212249970) | 1 HP | 1 | Working |  |
| 2 | Preet Vihar | | 1 HP | 1 | Working |  |
| 3 | Jagatpuri | | 1 HP | 1 | Working |  |
| 4 | Yamun Sports Complex | | 1 HP | 1 | Working |  |
| 5 | Seelampur | | 1 HP | 1 | Working |  |
| 6 | Bhajanpura | | 1 HP | 1 | Working |  |
| 7 | Gokulpuri | | 1 HP | 1 | Working |  |
| **STORM WATER PUMP SET** | | | | | | |
| 1 | ITO Chungi Projects | | M/S SHAKA Electrical (Mb. No: 9212249970) | 3\*50 HP | 3 | 1 no. not Working |
| 3\*22.5 HP | 3 | Working |
| 2\*7.5HP | 2 | Working |
| 2 | Ghazipur Flyover Projects | | 2\*15 HP | 2 | Working |
| 2\*12.5 HP | 2 | Working |
| 3 | Apsara Border Flyover Projects | | 11\*10 HP | 11 | 2 Nos. not Working |
| 5\*20 HP | 5 | 2 Nos. not Working |
| 4 | Shyamlal College | | 2\*22.5 HP | 2 | Working |
| 1\*15 HP | 1 | Working |
| 5 | RUB 58-64, Jhilmil Colony | | 4\*20 HP | 4 | Working |
| 1\*15 HP | 1 | Working |
| 6 | Nathupura | | M/s R P Electricals | 3\*15 HP | 3 | Working |
| **PUMPS Taken Over by MCD** | | | | | | |
| 1 | Bhajan pura MKt | | M/S KSR Electricals (9810066430)/  Sh.Khusiram  (9911231376) | 1X15 HP | 1 | Working |
| 1X25 HP | 1 | Working |
| 2X40 HP | 2 | Working |
| 1X75 HP | 1 | Working |
| 1X25 HP | 1 | Working |
| 2 | Harsh Vihar | | M/S KSR Electricals (9810066430)/  Sh.Pushpender  (9868084864) | 2X40 HP | 2 | Working |
| 1X75 HP | 1 | Working |
| 4X75 HP | 4 | Working |
| 3 | Dividing Road Yamuna Vihar | | M/S KSR Electricals (9810066430)/  Sh.Khusiram  (9911231376) | 1X40 HP | 1 | Working |
| 1X 30 HP | 1 | Working |
| 1x37.5 BHP | 1 | Working |
| 1x38 BHP | 1 | Working |
| 2X40 HP | 2 | Working |
| 4 | S.B.S Yamuna Vihar | | 4X75 HP | 4 | Working |
| 1x 75 HP | 1 | Working |
| 5 | Old Seemapuri | | M/S Sanjay Electricals (9810034414)/  Sh.Gani Singh  (9250689527) | 3x 40 HP | 3 | Working |
| 1x50 BHP | 1 | Working |
| 2X100 HP | 2 | Working |
| 6 | New Seemapuri | | 1X 50 HP | 1 | Working |
| 1X 40 HP | 1 | Working |
| 1x38 BHP | 1 | Working |
| 2X25 HP | 2 | Working |
| 7 | Dilshad Colony | | M/S Sanjay Electricals (9810034414)/  Sh.Pushpender  (9868084864) | 1X75 HP | 1 | Working |
| 1x38 BHP | 1 | Working |
| 1x50 BHP | 1 | Working |
| 2X40 HP | 2 | Working |
| 8 | E-4 Nand Nagri | | 1X50 HP | 1 | Working |
| 1X75 HP | 1 | Working |
| 1x50 BHP | 1 | Working |
| 2X40 HP | 2 | Working |
| 9 | C-3 Nand Nagri | | 4X75 HP | 4 | Working |
| 2X75 HP | 2 | Working |
| 10 | MIG Flat Loni Road | | M/S KSR Electricals (9810066430)/  Sh.Khusiram  (9911231376) | 4X100 HP(VT) | 4 | Working |
| 1x100 HP | 1 | Working |
| 1x75 HP | 1 | Working |
| 1x38 BHP | 1 | Working |
| 2X40 HP | 2 | Working |
| 11 | G.T Road Mansarovar Park | | M/S Sanjay Electricals (9810034414)/  Sh.Suresh  (9868740644) | 2X75 HP | 2 | Working |
| 1x38BHP | 1 | Working |
| 1X40 HP | 1 | Working |
| 12 | Loni Road(DK) | | 6X75 HP | 6 | Working |
| 1x38BHP | 1 | Working |
| 1x50 BHP | 1 | Working |
| 2X25 HP | 2 | Working |
| 13 | G.T Road Barburpur | | M/S Sanjay Electricals (9810034414)/  Sh.Suresh  (9868740644) | 2X40 HP | 2 | Working |
| 1X75 HP | 1 | Working |
| 1x38 BHP | 1 | Working |
| 14 | Gokul Puri | | M/S KSR Electricals (9810066430)/  Sh.Khusiram (9911231376) | 1X75 HP | 1 | Working |
| 1x28 BHP | 1 | Working |
| 2x37.5 BHP | 2 | Working |
| 2x20HP (submersible) | 2 | Working |
| 15 | Bhagvan pur Kheda | | M/S KSR Electricals (9810066430)/  Sh.Suresh  (9868740644) | 1X15 HP | 1 | Working |
| 3X40 HP | 3 | Working |
| 16 | West of Loni Road  (Drain no-1) | | M/S KSR Electricals (9810066430)/  Sh.Khusiram (9911231376) | 3x150 HP | 3 | Working |
| 3x100 HP | 3 | Working |
| 2X75 HP | 2 | Working |
| 17 | C-12 Yamuna Vihar | | 1X25 HP | 1 | Working |
| 2X40 HP | 2 | Working |
| 1X75 HP | 1 | Working |
| 1x28 BHP | 1 | Working |
| 18 | C-5 Yumna Vihar | | 1x40 Hp | 1 | Working |
| 2X25 HP | 2 | Working |
| 1X38 BHP | 1 | Working |
| 19 | Rub Vivek Vihar | | M/S Sanjay Electricals (9810034414)/  Sh.Suresh  (9868740644) | 3X40 HP | 3 | Working |
| 2X75 HP | 2 | Working |
| 2x15 Hp submersible | 2 | Working |
| 20 | RUB Bihari colony | | 1X25 HP(VT) | 1 | Working |
| 2X20 HP submersible | 2 | Working |
| 2x40 Hp | 2 | Working |
| 2x28 BHP | 2 | Working |
| 21 | RUB Madhuban | | 2x25 HP  Submersible | 2 | Working |
| 2x40 HP(VT) | 2 | Working |
| 2x50 HP(VT) | 2 | Working |
| 1x38 BHP | 1 | Working |
| 1x50 BHP | 1 | Working |
| 22 | G.T Road Seelampur | | 2X40 HP | 2 | Working |
| 3x100 HP | 3 | Working |
| 4x75 BHP | 4 | Working |
| 2x28 BHP | 2 | Working |
| 23 | Ghamdi Gaon | | M/S KSR Electricals (9810066430)/  Sh.Khusiram (9911231376) | 1X25 HP | 1 | Working |
| 2X40 HP | 2 | Working |
| 1X75 HP | 1 | Working |
| 1x28 BHP | 1 | Working |
| 24 | Ghamdi Pond | | M/S KSR Electricals (9810066430)/  Sh.Khusiram (9911231376) | 5X75 HP | 5 | Working |
| 1x100 HP | 1 | Working |
|  | | | | | | |
| **PWD Circle Central & New Delhi (M-41), Shri Mukesh Kumar, SE**  **Office Address : PWD, Bhairon Road, T-Junction, Near Pragati Power Station,**  **New Delhi-110002** | | | | | | |
| **PWD Division C&ND (E) (M-351) Office Address : PWD EMD M-351, Room No. 185,**  **Old Sectt., Delhi -54**  **Office Phone No. 011-23890297** | | | | | | |
| **Er. V.S. Chauhan, EE (E) Mobile No. (9999318544)** | | | **Er. K.K. Bishwas, AE (E)**  **Mobile No. 9911259495** | | **Er. K.N. Jaiswal, JE (E)**  **Mobile No. 98914 32158** | |
| **PUMPS INSTALLED IN UNDERPASS** | | | | | | |
| 1) | Roshnara Bagh | | M/s Chaudhary Engineers & Contractor   1. 9654272107 2. 8588997171 3. 9958420327 | Electric motor pumps –  15 HP | 4 | Working |
| Electric motor pumps –  10 HP | 1 | Working |
| 2) | Shakti Nagar (Underpass) | | M/s Chaudhary Engineers & Contractor   1. 9654272107 2. 8588997171 3. 9953371934 | Electric motor pumps –  50 HP | 1 | Working |
| Electric motor pumps –  50 HP | 2 | Working |
| Electric motor pumps –  75 HP | 1 | Working |
| Electric motor pumps –  43 BHP | 1 | Working |
| Electric motor pumps -5/7.5 HP | 3 | Working |
| Electric motor pumps –  10 HP | 1 | Working |
| 3) | Sawan Park | | M/s Chaudhary Engineers & Contractor   1. 9654272107 2. 8588997171 3. 9999773481 | Electric motor pumps –  10 HP | 3 | Working |
| Electric motor pumps –  15 HP | 4 | Working |
| **STORM WATER PUMP SET** | | | | | | |
|  | ---- | | ---- | ---- | ---- | ---- |
| **PUMPS INSTALLED IN SUBWAYS** | | | | | | |
|  | ---- | | ---- | ---- | ---- | ---- |
|  | | | | | | |
| **PWD Circle Project (M-24), Shri Ravi Kant, SE**  **Office Address : PWD, Downstream Western Yamuna Bank, LokNayakSetu, ITO,**  **New Delhi-110002** | | | | | | |
| **PWD Division DHC & ND (E) (M-451) Office Address DHC & ND/Central, Ground Floor,**  **MSOBldg., New Delhi**  **Office Phone No. 23310844** | | | | | | |
| **Er. Sanjay Kumar Verma, EE (E) Mobile No. (9717007584)** | | | **Er. D.N. Gupta, AE (E) Mobile No. 9958534413** | | **Er. Sabir Ali, JE (E) Mobile No. 9968387995** | |
| **PUMPS INSTALLED IN UNDERPASS** | | | | | | |
| 1 | Salimgarh Fort | | M/s Ramesh Electric Works  (Mob:- 9818203061) | 7.5 HP Submersible  15 HP Submersible  20 HP Submersible  30 HP Submersible | 1  2  1  1 | Working  Working  Working  Working |
| **STORM WATER PUMP SET** | | | | | | |
| 1 | Azad Bhawan | | M/s PARASAR ELECTRICALS & REFRIGERATION  (Mob:- 9711289345) | 75 HP VT  75 HP Centrifugal  40 HP Centrifugal  32 HP Diesel Engine | 1  3  1  1 | Working |
| 2 | Minto Road | | 75 HP Centrifugal  25 HP Centrifugal  80 HP VT | 4  1  1 | Working |
| 3 | Minto Road | | 40 HP VT  75 HP Centrifugal  40 HP Centrifugal  25 HP Centrifugal | 2  2  2  2 | Under installation |
| 3 | Tilak Bridge Phase – I | | 75 HP Centrifugal  40 HP Centrifugal  32 HP Diesel Engine | 3  1  2 | Working |
| 4 | Tilak Bridge Phase – II | | 40 HP Centrifugal  10 HP Submersible  15 HP Diesel | 2  1  1 | Working |
| 5 | Rose Garden | | 75 HP Centrifugal  50 HP Centrifugal | 6  1 | Working |
| 6 | Vijay Ghat | | 100 HP Centrifugal  75 HP Centrifugal  40 HP VT | 1  2  1 | Working |
| 7 | Lothian Bridge | | 75 HP Centrifugal  38 HP Diesel Engine | 3  1 | Working |
| 8 | Mangi Bridge | | 10 HP Submersible  20 HP Submersible  12.2 HP Diesel Engine | 2  1  1 | Working |
| 9 | Loha Pul (near Yamuna Bank) | | 10 HP Submersible  25 HP Centrifugal  12.5 HP Diesel Engine | 3  1  2 | Working |
| 10 | ITO Storm Water | | M/s Ramesh Electric Works  (Mob:- 9818203061) | 30 HP Submersible  25 HP Submersible  20 HP Submersible | 1  1  2 | Working |
| 12 | ITO Sewarage Disposal Pump | | 7.5 HP Submersible | 2 | Working |
| **PUMPS INSTALLED IN SUBWAYS** | | | | | | |
| 1 | ITO Ring Road | | M/s Ramesh Electric Works  (Mob:- 9818203061) | 1.5 HP | 2 | Working |
| 2 | Nigam Both Ghat | | 1.5 HP | 2 | Working |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Details of Drainage Pumps in Subways and Under Pass under Chief Engineer, North Zone**  **(M-3) PWD** | | | | | | |
| **PWD Zone North (M-3), Shri Umesh Chandra Mishra, CE (North) M, 5th floor, MSO Building, I.P. Estate, New Delhi-110002** | | | | | | |
| **PWD Circle West (M-13), Shri Manmohan, SE**  **Office Address : Hemwati Nandan Bahuguna Marg, Near Cine Complex, Karampura, New Delhi-110015** | | | | | | |
| **PWD Division West (E) (M-131) Office Address : 41, Rama Road, Zakhira, New Delhi-15**  **Office Phone No. 25459519** | | | | | | |
| **Er. P.K. Srivastava, EE (E) Mobile No. (9910067630)** | | **Er. S.K. Chakrabarti, AE (E) Mobile No. 9136149542** | | **Er. Ajit Kr Gurjar, JE (E) Mobile No. 8107689874** | | |
|  | | | | | | |
| **S. No.** | **Location** | **Maintained By**  **Agency with Mob. No.** | **Capacity of Pumps** | | **Qty. of Pumps** | **Status of Pumps (working or not)** |
| **PUMPS INSTALLED IN UNDERPASS** | | | | | | |
| 1 | Bhera Enclave Underpass (Raddision Blue Hotel Side) | M/S A.K. Electrical  Sh. A.K. Sharma : 08826139051 | Dewatering pump sets complete with Stater Panel– 15 HP | | 1 No. | Working |
| Dewatering pump sets complete with Stater Panel– 25 HP | | 2 Nos. | Working |
| 2 | Bhera Enclave Underpass (Shubham Enclave Side) | M/S A.K. Electrical  Sh. A.K. Sharma : 08826139051 | Dewatering pump sets complete with Stater Panel– 12 HP | | 1 No. | Working |
| Dewatering pump sets complete with Stater Panel– 25 HP | | 2 Nos. | Working |
| 3 | Punjabi Bagh Underpass (Tri Nagar Side) | M/s Shaka Electricals  Sh. Neeraj Sharma 9212268901 | Dewatering pump set alongwith Starter Panel - 20 HP | | 2 Nos. | Working |
| Dewatering pump set alongwith Starter Panel – 25 HP | | 1 No. | Working |
| 4 | Punjabi Bagh Underpass (Raja Garden Side) | M/s Shaka Electricals  Sh. Neeraj Sharma 9212268901 | Dewatering pump set alongwith Starter Panel - 20 HP | | 2 Nos. | Working |
| Dewatering pump set alongwith Starter Panel – 25 HP | | 1 No. | Working |
| **STORM WATER PUMP SET** | | | | | | |
| 1 | At T-Point of Mayapuri & Rajouri Apartment Road | Maintained by Department  Tender for operation of pump sets is in process | 12.50 HP  Elect. Pump Set | | 2 Set | Working |
| Diesel Pumping Set  6.5 HP | | 2 Nos. | 1 No. pumps under repair |
| **STORM WATER CUM SEWAGE DRAIN** | | | | | | |
| 1 | Sewage Drain at Mundka Metro Station | Maintained by Department  Tender for operation of pump sets is in process | 25 HP  Elect. Pump Set | | 1 Set | Working |
| 12.5 HP  Elect. Pump Sets | | 2 Nos. | Working |
| It is proposed that underground sump to accommodate atleast 5 Lakh Liters drain water should be constructed to avoid water logging in this area. All low level area should be connected to this sump and outgoing drain from this sump should be of proper capacity and design. | | 2 Nos. of 16KW sewage pump sets shall be installed in this proposed sump for proper disposal of drain water. | After construction of drain. Pump will installed immediately. |
| 2 | Tikri Sewage Drain | During last mansoon season one set of 25 HP Diesel operated pump set was provided on hiring basis. | Existing sump is of very small capacity.  It is proposed that underground sump to accommodate atleast 5 Lakh Liters drain water should be constructed to avoid water logging in this area. All low level area should be connected to this sump and outgoing drain from this sump should be of proper capacity and design. | | 2 Nos. of 16 KW sewage pump set shall be installed after construction of sump | After construction of drain. Pump will installed immediately |
| 3 | Hiran Kudna Drain | During last mansoon season one set of 25 HP Diesel operated pump set was provided on hiring basis and one no. 25 HP Elect. Pump set driven by DG Set was also provided on hiring basis. | At present there is no sump.  It is proposed that underground sump to accommodate atleast 5 Lakh Liters drain water should be constructed to avoid water logging in this area. All low level area should be connected to this sump and outgoing drain from this sump should be of proper capacity and design. | | 2 Nos. of 16 KW sewage pump set shall be installed after construction of sump | After construction of drain. Pump will installed immediately |
| **PUMPS INSTALLED IN SUBWAYS** | | | | | | |
| 1 | Subway Raja Garden Flyover | Maintained by department | 3 HP | | 4 Nos. | 1 No. notworking |
| 2 | Subway Tagore Garden at NG Road | Maintained by department | 2 HP | | 1 No. | Working |
| 3 | Subway Basaidarapur Near ESI Hospital | Maintained by department | 3HP =1  1.5 HP=1 | | 2 Nos. | 1 No. not working |
| 4 | Subway Punjabi Bagh Flyover (Main) | Maintained by department | 2HP | | 5 Nos. | 1 No. not working |
| 5 | Subway Nangloi Flyover | Maintained by department | 2HP | | 2 Nos. | Working |
| 6 | Subway Ganesh Nagar at NG Road | Maintained by department | 2HP | | 2 Nos. | Working |
| 7 | Meenakshi Garden (Tilak Nagar) | Maintained by department | 1.1 KW | | 1 No. | Working |
|  | | | | | | |
| **PWD Circle North West (M-31), Shri Mathura Prasad, SE (M) - 9818582453**  **Office Address : Rohtak Road Crossing, Punjabi Bagh, Delhi** | | | | | | |
| **PWD Division North (E) (M-353) Office Address : O/o Executive Engineer, Below ISBT**  **flyover, Kashmere Gate, Delhi – 110006**  **Office Phone No. 23863892** | | | | | | |
| **Er. P.K. Oswal, EE (E) Mobile No. (9891975774)** | | **Er. A.K. Vashith, AE (E) Mobile No. 9810343196**  **Er. L.P. Pandey, AE (E) Mobile No. 9654441155** | | | **Er. Gianandu, JE (E) Mobile No. 9560821832**  **Er. Sunil Soni, JE (E) Mob. No. 8750572408** | |
| 1 | Prembari Pul Underpass | M/S Shaka Electricals  Sh. Neeraj Sharma 9212268901 | a) 15 HP (Pump Set) | | 3 Nos. | Working |
| b) 82.5 KVA D.G, Set | | 1 No. | Working |
| 2 | Shalimar Bagh | M/S Shaka Electricals | a)12.5 HP (Pump Set) | | 4 Nos. | 4 Nos. pumps are not functional due to silt and shall be made functional by 30/05/17. |
| b)15 HP (Pump Set) | | 4 Nos. | Working |
| c) 7.5 HP motor pump | | 1 No. | Working |
| d) 12.5 BHP DG Pump | | 1 No. | Working |
| 3 | Ashok Vihar RUB | M/S Shaka Electricals | a) 40 HP | | 4 Nos. | Working |
| b) 15 HP | | 1 No. | Working |
| c) 10 HP | | 2 No. | Working |
| d) 12.5 BHP | | 1 No. | Working |
| e) 5 HP | | 1 No. | Working |
| f) 82.5 KVA DG Set | | 1 No. | Working |
| 4 | Raja Park | M/S Shaka Electricals | a) 10 HP Pump  Temp. | | 2 Nos. | Working |
| b) 15 Hp pump | | 2 No. | Working |
| 5 | Lawrance Road RUB  (1 & 2) | M/S Shaka Electricals | a) 15 HP Pump | | 4 Nos. | 3 Nos. pumps are not functional due to silt and shall be made functional by 30/05/17. |
| b) 20 HP Pump | | 4 Nos. | Working |
| c) 10 HP Temp. Pump | | 1 No. | Working |
| d) 82.5 KVA DG Set | | 1 No. | Working |
| 6 | Zakira (RUB) | M/S Shaka Electricals | a) 75 HP Pump | | 1 No. | Working |
| b) 50 HP Pump | | 2 Nos. | Working |
| c) 25 HP Pump | | 1 No. | Working |
| d) 30 BHP Pump | | 1 No. | Working |
| e) 20 HP Pump | | 2 Nos. | Working |
| 7 | Madhuban Chowk Under pass | M/S Trehan | a) 15 HP Pump | | 8 Nos. | 1 No. pumps under repair and shall be made functional by 30/05/17. |
| 8 | RUB Mangolpuri Industrial Area | M/S Trehan | a) 15 HP Pump | | 4 Nos. | 2 Nos. under repair and shall be made functional by 30/05/17. |
| b) 10 HP Pump | | 2 Nos. | Working |
| **STORM WATER PUMP SET** | | | | | | |
| 1 | Rani Bagh | M/S Shaka Electricals | a) 40 HP Pump | | 1 No. | Working |
| b)15 HP Pump | | 4 Nos. | Working |
| c) 05 HP DG pump | | 1 No. | Working |
| 2 | Wazirpur Drain | M/S Shaka Electricals | 40 HP Pump | | 2 Nos. | Working |
| **PUMPS INSTALLED IN SUBWAYS** | | | | | | |
|  | ---- | ---- | ---- | | ---- | ---- |
| **PWD Circle North (M-32), Shri Mathura Prasad, SE**  **Office Address : PWD, Below ISBT Flyover, Kashmeri Gate, Delhi-110006** | | | | | | |
| **PWD Division North (E) (M-352) Office Address : PWD, BSA Hospital, Rohini, Delhi**  **Office Phone No. 27054618** | | | | | | |
| **Er. V.K. Gupta, EE (E) Mobile No. (9868217928)** | | **Er. Y.K. Tyagi, AE (E) Mobile No. 09711641028**  **Er. N.K. Aggarwal, AE (E) Mobile No. 09910553395** | | | **Er. Manish Tiwari, JE(E) Mobile No. 9560478217**  **Er. Aman, JE (E) Mob. No. 09555644544** | |
| **PUMPS INSTALLED IN UNDERPASS/RUBs** | | | | | | |
| 1 | Azadpur Underpass  (2 Sumps) | M/s Shera Electricals  M - 9911177254 | 25HP,  15HP,  12.5 HP,  12.5 BHP Diesel pump  82.5 kVA DG Set | | 2 Nos.  1 No.  2 Nos.  3 Nos.  1 No. | Working |
| 2 | Shah Alam Bandh RUB  (2 Sumps) | M/s Shera Electricals  M - 9911177254 | 5 HP  6 BHP | | 4 Nos.  2 Nos. | Working |
| 3 | RUB Sanjay Gandhi Transport Nagar crossing No. 8 (Badli) | M/s Shera Electricals  M - 9911177254 | a) 15 HP  b) 10 HP | | 4 Nos.  2 Nos. | 1 No. not working  1 No. not working |
| 4 | RUB Sanjay Gandhi Transport Nagar crossing No. 9 (Samaypur Badli) 2 Nos. Pump House | M/s Shera Electricals  M - 9911177254 | a) 15 HP  b) 10 HP  c) 15 HP | | 7 Nos.  7 Nos.  3 Nos. | 4 Nos. pumps not working  5 Nos. pumps are not working  Working |
| **STORM WATER PUMP SET** | | | | | | |
|  | ---- | ---- | ---- | | ---- | ---- |
| **PUMPS INSTALLED IN SUBWAYS** | | | | | | |
| 1 | 2 Subways at Azadpur  (2 sumps in each subway) | M/s Shera Electricals  M - 9911177254 | 5.0 HP | | 4 (in each subway) | Working |
| 2 | Mukarba Chowk Flyover | M/s Taksali Engineering Works | 7.5 HP | | 2 Nos. | Working |
|  | | | | | | |